## NLP-B
Project Name: | NLP-B | [5 empty] | offer | commercial
Item | 1 | [5 empty] | QTY. | 1
Issue Number :FIRST | [6 empty] | IP | 41
Item Description |  |  |  |  | List Price | Unit price | QTY. | T.Price
Mode | Poles | Rate A | KA | Type
XT1B 160 TMD 16-450 3p F F | 3 | 20 | 18 | MCCB | 1976 | 1976 | 1 | 1976
S201- C16 | 1 | 16 | 10 | MCB | 94.2 | 94.2 | 40 | 3768
sapce | [6 empty] | 2
EMC348CF-16 | ENCLOSURE |  |  |  | 2103.8 | 2103.8 | 1 | 2103.8
pilot lights
CL-100R |  |  |  |  | 62 | 62 | 1 | 62
CL-100G |  |  |  |  | 62 | 62 | 1 | 62
CL-100Y |  |  |  |  | 62 | 62 | 1 | 62
working hours | [7 empty] | 1700
TOTAL Cost | [5 empty] | 0 |  | 9733.8
SEILLING

## NCP-B
Project Name: | NCP-B | [5 empty] | offer | commercial
Item | 2 | [5 empty] | QTY. | 1
Issue Number :FIRST | [6 empty] | IP | 41
Item Description |  |  |  |  | List Price | Unit price | QTY. | T.Price
Mode | Poles | Rate A | KA | Type
XT1B 160 TMD 16-450 3p F F | 3 | 20 | 18 | MCCB | 1976 | 1976 | 1 | 1976
S201- C16 | 1 | 16 | 10 | MCB | 94.2 | 94.2 | 56 | 5275.2
DS201 C20 AC30 | 1 | 20 | 10 | RCBO | 1126.7 | 1126.7 | 2 | 2253.4
sapce | [6 empty] | 2
EMC348CF-16 | ENCLOSURE |  |  |  | 2103.8 | 2103.8 | 1 | 2103.8
pilot lights
CL-100R |  |  |  |  | 62 | 62 | 1 | 62
CL-100G |  |  |  |  | 62 | 62 | 1 | 62
CL-100Y |  |  |  |  | 62 | 62 | 1 | 62
working hours | [7 empty] | 2330
Total Cost | [5 empty] | 0 |  | 14124.4

## NSP-B
Project Name: | NSP-B | [5 empty] | offer | commercial
Item | 3 | [5 empty] | QTY. | 1
Issue Number :FIRST | [6 empty] | IP | 41
Item Description |  |  |  |  | List Price | Unit price | QTY. | T.Price
Mode | Poles | Rate A | KA | Type
XT1B 160 TMD 100-1000 3p F F | 3 | 100 | 18 | MCCB | 1976 | 1976 | 1 | 1976
S201- C16 | 1 | 16 | 10 | MCB | 94.2 | 94.2 | 61 | 5746.2
SPARE | [6 empty] | 2
EMC318CF-16 | ENCLOSURE |  |  |  | 1171.1 | 1171.1 | 1 | 1171.1
pilot lights
CL-100R |  |  |  |  | 62 | 62 | 1 | 62
CL-100G |  |  |  |  | 62 | 62 | 1 | 62
CL-100Y |  |  |  |  | 62 | 62 | 1 | 62
working hours | [7 empty] | 2505
Total Cost | [5 empty] | 0 |  | 11584.3

## NSP2-B
Project Name: | NSP2-B | [5 empty] | offer | commercial
Item | 4 | [5 empty] | QTY. | 1
Issue Number :FIRST | [6 empty] | IP | 41
Item Description |  |  |  |  | List Price | Unit price | QTY. | T.Price
Mode | Poles | Rate A | KA | Type
XT1B 160 TMD 100-1000 3p F F | 3 | 160 | 18 | MCCB | 1976 | 1976 | 1 | 1976
S201- C50 | 1 | 50 | 10 | MCB | 173.7 | 173.7 | 5 | 868.5
S201- C40 | 1 | 40 | 10 | MCB | 94.2 | 94.2 | 10 | 942
S201- C32 | 1 | 32 | 10 | MCB | 94.2 | 94.2 | 2 | 188.4
S201- C25 | 1 | 25 | 10 | MCB | 94.2 | 94.2 | 23 | 2166.6
S201- C16 | 1 | 16 | 10 | MCB | 94.2 | 94.2 | 18 | 1695.6
EMC318CF-16 | ENCLOSURE |  |  |  | 1171.1 | 1171.1 | 1 | 1171.1
pilot lights
CL-100R |  |  |  |  | 62 | 62 | 1 | 62
CL-100G |  |  |  |  | 62 | 62 | 1 | 62
CL-100Y |  |  |  |  | 62 | 62 | 1 | 62
working hours | [7 empty] | 2330
Total Cost | [5 empty] | 0 |  | 11524.2

## CSP-B
Project Name: | CSP-B | [5 empty] | offer | commercial
Item | 5 | [5 empty] | QTY. | 1
Issue Number :FIRST | [6 empty] | IP | 41
Item Description |  |  |  |  | List Price | Unit price | QTY. | T.Price
Mode | Poles | Rate A | KA | Type
XT1B 160 TMD 16-450 3p F F | 3 | 20 | 18 | MCCB | 1976 | 1976 | 1 | 1976
S201- C16 | 1 | 16 | 10 | MCB | 94.2 | 94.2 | 60 | 5652
EMC312CF-16 | ENCLOSURE |  |  |  | 1014.8 | 1014.8 | 1 | 1014.8
pilot lights
CL-100R |  |  |  |  | 62 | 62 | 1 | 62
CL-100G |  |  |  |  | 62 | 62 | 1 | 62
CL-100Y |  |  |  |  | 62 | 62 | 1 | 62
working hours | [7 empty] | 2400
Total Cost | [5 empty] | 0 |  | 11228.8

## UPP-G-R S.S (hidden)
Project Name: | UPP-G-R | [5 empty] | offer | commercial
Item | 6 | [5 empty] | QTY. | 1
Issue Number :FIRST | [6 empty] | IP | 41
Item Description |  |  |  |  | List Price | Unit price | QTY. | T.Price
Mode | Poles | Rate A | KA | Type
XT1B 160 TMD 100-1000 3p F F | 3 | 100 | 18 | MCCB | 1976 | 1976 | 1 | 1976
S201- C20 | 1 | 20 | 10 | MCB | 94.2 | 94.2 | 11 | 1036.2
DS201 C20 AC30 | 1 | 20 | 10 | RCBO | 1126.7 | 1126.7 | 3 | 3380.1
space | [6 empty] | 4
EMC318CF-16 | ENCLOSURE |  |  |  | 1171.1 | 1171.1 | 1 | 1171.1
pilot lights
CL-100R |  |  |  |  | 62 | 62 | 1 | 62
CL-100G |  |  |  |  | 62 | 62 | 1 | 62
CL-100Y |  |  |  |  | 62 | 62 | 1 | 62
working hours | [7 empty] | 790
Total Cost | [5 empty] | 0 |  | 8539.4

## Total
Project Name: |  | Date :8/8/2023
Customer Name : |  | Offer: COMMIAL
Engineer in charge : |  | Issue Number :FIRST
Financial Proposal
Item No. | Item Description | Unit | Qty. | Unit Price | Total Price
1 | NLP-B | NO. | 1 | 9733.8 | 9733.8
2 | NCP-B | NO. | 1 | 14124.4 | 14124.4
3 | NSP-B | NO. | 1 | 11584.3 | 11584.3
4 | NSP2-B | NO. | 1 | 11524.2 | 11524.2
5 | CSP-B | NO. | 1 | 11228.8 | 11228.8
6 | UPP-G-R | NO. | 1 | 8539.4 | 8539.4
| Total Price not including Sales tax |  |  |  | 66734.9
| Sales tax ( %الضريبة المضافة14) |  |  |  | 9342.886
| Total Price including Sales tax |  |  |  | 76077.786
Page /
Page /

## Technical
Project Name: | international school
offer | Technical
date | 2023-08-08
NLP-B
Technical offer
Item No. | 1 |  | Panel Name: | NLP-B |  |  | IP=41
Item Qty. | 1
| Qty. | Description |  |  |  |  | Notes
|  | Mode | Poles | Rate A | Type | KA
Incoming :
| 1 | XT1B 160 TMD 100-1000 3p F F | 3 | 100 | MCCB | 18
Outgoing : | 40 | S201- C16 | 1 | 16 | MCB | 10
| 2 | space
measuring & indication
| 1 | CL-100R |  |  | pilot lights |  | without integrated LED (IP67)
| 1 | CL-100G
| 1 | CL-100Y
Enlosure & bus bars
ENCLOSER TYPE |  | Mini center
Mode |  | EMC348CF-16
NUMBER OF LINES |  | 48
DIMENSION |  | 870 MM x 420 MM x 132 MM |  | BUSBAR RATING |  | 160
MOUNTAING |  | Flush Mountaing |  | CURRENT DENSITY |  | 1.5
METERIAL BODY |  | Stainless |  | VOLTAGE SYSTEM |  | 3PH+N+E
PAINTED TYPE |  | gray(Ral & 7035) |  | NEUTRAL |  | 0.5 phase
INCOMING & OUTCOMING CABLE |  | bottom |  | EARTHING |  | equal neutral
NCP-B
Technical offer
Item No. | 2 |  | Panel Name: | NCP-B |  |  | IP=41
Item Qty. | 1
| Qty. | Description |  |  |  |  | Notes
|  | Mode | Poles | Rate A | Type | KA
Incoming :
| 1 | XT1B 160 TMD 16-450 3p F F | 3 | 100 | MCCB | 18
Outgoing : | 56 | S201- C16 | 1 | 16 | MCB | 10
| 2 | DS201 C20 AC30 | 1 | 20 | RCBO | 10 | ELCB
| 2 | space
measuring & indication
| 1 | CL-100R |  |  | pilot lights |  | without integrated LED (IP67)
| 1 | CL-100G
1
CL-100Y
Enlosure & bus bars
ENCLOSER TYPE |  | Mini center
Mode |  | EMC348CF-16
NUMBER OF LINES |  | 48
DIMENSION |  | 870 MM x 420 MM x 132 MM |  | BUSBAR RATING |  | 160
MOUNTAING |  | Flush Mountaing |  | CURRENT DENSITY |  | 1.5
METERIAL BODY |  | Stainless |  | VOLTAGE SYSTEM |  | 3PH+N+E
PAINTED TYPE |  | gray(Ral & 7035) |  | NEUTRAL |  | 0.5 phase
INCOMING & OUTCOMING CABLE |  | bottom |  | EARTHING |  | equal neutral
NSP-B
Technical offer
Item No. | 3 |  | Panel Name: | NSP-B |  |  | IP=41
Item Qty. | 1
| Qty. | Description |  |  |  |  | Notes
|  | Mode | Poles | Rate A | Type | KA
Incoming :
| 1 | XT1B 160 TMD 100-1000 3p F F | 3 | 100 | MCCB | 18
Outgoing : | 61 | S201- C16 | 1 | 16 | MCB | 10
measuring & indication
| 1 | CL-100R |  |  | pilot lights |  | without integrated LED (IP67)
| 1 | CL-100G
| 1 | CL-100Y
Enlosure & bus bars
ENCLOSER TYPE |  | Mini center
Mode |  | EMC318CF-16
NUMBER OF LINES |  | 18
DIMENSION |  | 600 MM x 420 MM x 132 MM |  | BUSBAR RATING |  | 160
MOUNTAING |  | Flush Mountaing |  | CURRENT DENSITY |  | 1.5
METERIAL BODY |  | Stainless |  | VOLTAGE SYSTEM |  | 3PH+N+E
PAINTED TYPE |  | gray(Ral & 7035) |  | NEUTRAL |  | 0.5 phase
INCOMING & OUTCOMING CABLE |  | bottom |  | EARTHING |  | equal neutral
NSP2-B
Technical offer
Item No. | 4 |  | Panel Name: | NSP2-B |  |  | IP=41
Item Qty. | 1
| Qty. | Description |  |  |  |  | Notes
|  | Mode | Poles | Rate A | Type | KA
Incoming :
| 1 | XT1B 160 TMD 100-1000 3p F F | 3 | 100 | MCCB | 18
Outgoing : | 18 | S201- C16 | 1 | 16 | MCB | 10
measuring & indication
| 1 | CL-100R |  |  | pilot lights |  | without integrated LED (IP67)
| 1 | CL-100G
| 1 | CL-100Y
Enlosure & bus bars
ENCLOSER TYPE |  | Mini center
Mode |  | EMC318CF-16
NUMBER OF LINES |  | 18
DIMENSION |  | 600 MM x 420 MM x 132 MM |  | BUSBAR RATING |  | 160
MOUNTAING |  | Flush Mountaing |  | CURRENT DENSITY |  | 1.5
METERIAL BODY |  | Stainless |  | VOLTAGE SYSTEM |  | 3PH+N+E
PAINTED TYPE |  | gray(Ral & 7035) |  | NEUTRAL |  | 0.5 phase
INCOMING & OUTCOMING CABLE |  | bottom |  | EARTHING |  | equal neutral
CSP-B
Technical offer
Item No. | 5 |  | Panel Name: | CSP-B |  |  | IP=41
Item Qty. | 1
| Qty. | Description |  |  |  |  | Notes
|  | Mode | Poles | Rate A | Type | KA
Incoming :
| 1 | XT1B 160 TMD 100-1000 3p F F | 3 | 100 | MCCB | 18
Outgoing : | 60 | S201- C16 | 1 | 20 | MCB | 10
measuring & indication
| 1 | CL-100R |  |  | pilot lights |  | without integrated LED (IP67)
| 1 | CL-100G
| 1 | CL-100Y
Enlosure & bus bars
ENCLOSER TYPE |  | Mini center
Mode |  | EMC312CF-16
NUMBER OF LINES |  | 12
DIMENSION |  | 540 MM x 420 MM x 132 MM |  | BUSBAR RATING |  | 160
MOUNTAING |  | Flush Mountaing |  | CURRENT DENSITY |  | 1.5
METERIAL BODY |  | Stainless |  | VOLTAGE SYSTEM |  | 3PH+N+E
PAINTED TYPE |  | gray(Ral & 7035) |  | NEUTRAL |  | 0.5 phase
INCOMING & OUTCOMING CABLE |  | bottom |  | EARTHING |  | equal neutral